## Sheet1
page | equipment | compartment | panel.name | manufacturer | panel.no | serial.number | date | time | humidity | ambient | model | rating | ptu.no
1 | MSB | DP1-1 TR INCOMER | KUL21-DM12-PTU-1C-LVSBDP-01 AC 400V | SCHNEIDER | 1 | ABPX2522458 | 25-05-2026 | 22:05 | 38% | 28.4 | N/A | 415V | PTU 03
2 | MSB | DP1-1 TR INCOMER | KUL21-DM12-PTU-1C-LVSBDP-01 AC 400V | SCHNEIDER | 1 | ABPX2522458 | 25-05-2026 | 22:06 | 38% | 28.4 | N/A | 415V | PTU 03
3 | MSB | DP1-1 TR INCOMER | KUL21-DM12-PTU-1C-LVSBDP-01 AC 400V | SCHNEIDER | 1 | ABPX2522458 | 25-05-2026 | 22:06 | 38% | 28.4 | N/A | 415V | PTU 03
4 | MSB | DP1-1 TR INCOMER | KUL21-DM12-PTU-1C-LVSBDP-01 AC 400V | SCHNEIDER | 1 | ABPX2522458 | 25-05-2026 | 22:06 | 38% | 28.4 | N/A | 415V | PTU 03
5 | MSB | DP2-1 GEN INCOMER | KUL21-DM12-PTU-1C-LVSBDP-02 AC 400V | SCHNEIDER | 2 | ABPX2522459 | 25-05-2026 | 22:06 | 38% | 28.4 | N/A | 415V | PTU 03
6 | MSB | DP2-1 GEN INCOMER | KUL21-DM12-PTU-1C-LVSBDP-02 AC 400V | SCHNEIDER | 2 | ABPX2522459 | 25-05-2026 | 22:06 | 38% | 28.4 | N/A | 415V | PTU 03
7 | MSB | DP2-1 GEN INCOMER | KUL21-DM12-PTU-1C-LVSBDP-02 AC 400V | SCHNEIDER | 2 | ABPX2522459 | 25-05-2026 | 22:06 | 38% | 28.4 | N/A | 415V | PTU 03
8 | MSB | DP2-1 GEN INCOMER | KUL21-DM12-PTU-1C-LVSBDP-02 AC 400V | SCHNEIDER | 2 | ABPX2522459 | 25-05-2026 | 22:07 | 38% | 28.4 | N/A | 415V | PTU 03
9 | MSB | DP3-1 UPS MAINTENANCE BYPASS | KUL21-DM12-PTU-1C-LVSBDP-03 AC 400V | SCHNEIDER | 3 | ABPX2522460 | 25-05-2026 | 22:07 | 38% | 28.4 | N/A | 415V | PTU 03
10 | MSB | DP3-1 UPS MAINTENANCE BYPASS | KUL21-DM12-PTU-1C-LVSBDP-03 AC 400V | SCHNEIDER | 3 | ABPX2522460 | 25-05-2026 | 22:07 | 38% | 28.4 | N/A | 415V | PTU 03
11 | MSB | DP3-1 UPS MAINTENANCE BYPASS | KUL21-DM12-PTU-1C-LVSBDP-03 AC 400V | SCHNEIDER | 3 | ABPX2522460 | 25-05-2026 | 22:07 | 38% | 28.4 | N/A | 415V | PTU 03
12 | MSB | DP3-1 UPS MAINTENANCE BYPASS | KUL21-DM12-PTU-1C-LVSBDP-03 AC 400V | SCHNEIDER | 3 | ABPX2522460 | 25-05-2026 | 22:07 | 38% | 28.4 | N/A | 415V | PTU 03
13 | MSB | N/A | KUL21-DM12-PTU-1C-LVSBDP-03 AC 400V | SCHNEIDER | 3 | ABPX2522460 | 25-05-2026 | 22:08 | 38% | 28.4 | N/A | 415V | PTU 03
14 | MSB | DP4-1 UPS-1-Input 550KW | KUL21-DM12-PTU-1C-LVSBDP-04 AC 400V | SCHNEIDER | 4 | ABPX2522461 | 25-05-2026 | 22:08 | 38% | 28.4 | N/A | 415V | PTU 03
15 | MSB | DP5-2 UPS-2-Input 550KW | KUL21-DM12-PTU-1C-LVSBDP-05 AC 400V | SCHNEIDER | 5 | ABPX2522462 | 25-05-2026 | 22:08 | 38% | 28.4 | N/A | 415V | PTU 03
16 | MSB | DP5-1 UPS-3-Input 550KW | KUL21-DM12-PTU-1C-LVSBDP-05 AC 400V | SCHNEIDER | 5 | ABPX2522462 | 25-05-2026 | 22:09 | 38% | 28.4 | N/A | 415V | PTU 03
17 | MSB | N/A | KUL21-DM12-PTU-1C-LVSBDP-05 AC 400V | SCHNEIDER | 5 | ABPX2522462 | 25-05-2026 | 22:09 | 38% | 28.4 | N/A | 415V | PTU 03
18 | MSB | DU1-1 UPS1-4 OUTPUT | KUL21-DM12-PTU-1C-LVSBDU-01 AC 400V | SCHNEIDER | 1 | ABPX2522463 | 25-05-2026 | 22:09 | 38% | 28.4 | N/A | 415V | PTU 03
19 | MSB | DU1-1 UPS1-4 OUTPUT | KUL21-DM12-PTU-1C-LVSBDU-01 AC 400V | SCHNEIDER | 1 | ABPX2522463 | 25-05-2026 | 22:09 | 38% | 28.4 | N/A | 415V | PTU 03
20 | MSB | DU1-1 UPS1-4 OUTPUT | KUL21-DM12-PTU-1C-LVSBDU-01 AC 400V | SCHNEIDER | 1 | ABPX2522463 | 25-05-2026 | 22:10 | 38% | 28.4 | N/A | 415V | PTU 03
21 | MSB | DU1-1 UPS1-4 OUTPUT | KUL21-DM12-PTU-1C-LVSBDU-01 AC 400V | SCHNEIDER | 1 | ABPX2522463 | 25-05-2026 | 22:10 | 38% | 28.4 | N/A | 415V | PTU 03
22 | MSB | DU2-1 UPS 1-4 TEST | KUL21-DM12-PTU-1C-LVSBDU-02 AC 400V | SCHNEIDER | 2 | ABPX2522464 | 25-05-2026 | 22:10 | 38% | 28.4 | N/A | 415V | PTU 03
23 | MSB | N/A | N/A | SCHNEIDER | N/A | N/A | 25-05-2026 | 22:11 | 38% | 28.4 | N/A | 415V | PTU 03
24 | MSB | N/A | N/A | SCHNEIDER | N/A | N/A | 25-05-2026 | 22:11 | 38% | 28.4 | N/A | 415V | PTU 03
25 | MSB | DATA HALL 1 STRING C | KUL21-DM12-PTU-1C-LVSBDU-04 AC 400V | SCHNEIDER | 4 | ABPX2522466 | 25-05-2026 | 22:11 | 38% | 28.4 | N/A | 415V | PTU 03
26 | MSB | DATA HALL 1 STRING C | KUL21-DM12-PTU-1C-LVSBDU-04 AC 400V | SCHNEIDER | 4 | ABPX2522466 | 25-05-2026 | 22:11 | 38% | 28.4 | N/A | 415V | PTU 03
27 | MSB | DATA HALL 1 STRING C | KUL21-DM12-PTU-1C-LVSBDU-04 AC 400V | SCHNEIDER | 4 | ABPX2522466 | 25-05-2026 | 22:12 | 38% | 28.4 | N/A | 415V | PTU 03
28 | MSB | DATA HALL 2 STRING C | KUL21-DM12-PTU-1A-LVSBDU-05 AC 400V | SCHNEIDER | 5 | ABPX2522467 | 25-05-2026 | 22:12 | 38% | 28.4 | N/A | 415V | PTU 03
29 | MSB | DATA HALL 2 STRING C | KUL21-DM12-PTU-1A-LVSBDU-05 AC 400V | SCHNEIDER | 5 | ABPX2522467 | 25-05-2026 | 22:12 | 38% | 28.4 | N/A | 415V | PTU 03
30 | MSB | DU2-1 UPS 1-4 TEST | KUL21-DM12-PTU-1C-LVSBDU-02 AC 400V | SCHNEIDER | 2 | ABPX2522464 | 25-05-2026 | 22:13 | 38% | 28.4 | N/A | 415V | PTU 03
31 | MSB | DU3-2 SPARE | KUL21-DM12-PTU-1C-LVSBDU-03 AC 400V | SCHNEIDER | 3 | ABPX2522465 | 25-05-2026 | 22:14 | 38% | 28.4 | N/A | 415V | PTU 03
32 | MSB | DATA HALL 1 STRING C | KUL21-DM12-PTU-1C-LVSBDU-04 AC 400V | SCHNEIDER | 4 | ABPX2522466 | 25-05-2026 | 22:14 | 38% | 28.4 | N/A | 415V | PTU 03
33 | MSB | DATA HALL 2 STRING C | KUL21-DM12-PTU-1C-LVSBDU-05 AC 400V | SCHNEIDER | 5 | ABPX2522467 | 25-05-2026 | 22:14 | 38% | 28.4 | N/A | 415V | PTU 03
34 | MSB | BUSDUCT | KUL21-DM12-PTU-1C-LVSBDP-01 AC 400V | SCHNEIDER | 1 | N/A | 25-05-2026 | 22:14 | 38% | 28.4 | N/A | 415V | PTU 03
35 | MSB | BUSDUCT | KUL21-DM12-PTU-1C-LVSBDP-02 AC 400V | SCHNEIDER | 2 | N/A | 25-05-2026 | 22:15 | 38% | 28.4 | N/A | 415V | PTU 03
36 | MSB | BUSDUCT | KUL21-DM12-PTU-1C-LVSBDU-04 AC 400V | SCHNEIDER | 4 | N/A | 25-05-2026 | 22:15 | 38% | 28.4 | N/A | 415V | PTU 03
37 | MSB | BUSDUCT | KUL21-DM12-PTU-1C-LVSBDU-05 AC 400V | SCHNEIDER | 5 | N/A | 25-05-2026 | 22:15 | 38% | 28.4 | N/A | 415V | PTU 03